## Slide 1: Heat Pump Knowledge Base

## Slide 2: Why should I get a minisplit if I have a natural gas boiler?
Consider a minisplit if you want:
Great imprved cooling compared to a window AC
To significantly reduce emissions from heating
To extend the lifespan of your boiler

## Slide 3: When is a larger heat pump size better?
A larger sized heat pump may make sense if you have:
A large home
A home that is not well insulated or air-sealed
A goal to use your heat pump for as much heating as possible

## Slide 4: When is a smaller heat pump size better?
A smaller sized heat pump may make sense if you have:
A smaller home
A home that is well insulated and air-sealed

## Slide 5: Which contractor should I work with?
We recommend getting quotes from a few quality contractors who:
Are experienced with heat pump technology
Have demonstrated quality installations
Visit our Preferred Contractor Network to connect with a qualified contractor in your area.

## Slide 6: Which contractor should I talk to about AWHPs?
We recommend checking with the following:
A geothermal contractor
A contractor who does both heating and plumbing
Your local utility- some maintain contractor networks
The manufacturer of your product of interest